## Total_Trp
NEPAL ELECTRICITY AUTHORITY
POKHARA GRID BRANCH
POKHARA (LEKHNATH)
132/ 11 kV Sub-Station Pokhara / Lekhnath / Damauli / Syangja / Markichowk
Feeders Tripping Report for 132/33/ 11 KV Voltage Level: | [25 empty] | 2078/79 |  | 2070/071 |  | 2069/070
S/S | Voltage level | Shrawan |  | Bhadra |  | Ashwin |  | Kartik |  | Mangsir |  | Paush |  | Magh |  | Falgun |  | Chaitra |  | Baisakh |  | Jestha |  | Ashadh |  | Total No (N) | Total Time (Min.)T | Total No (N) | Total Time (Min.)T | Total No (N) | Total Time (Min.)T
|  | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T |  |  | N | T | N | T
Lekhanath | 132 kV Damauli | 6 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 24 | 20 | #REF! | #REF! | 28 | 28
| 132 kV Syangja | 2 | 1 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 0 | 2 | 2 | 1 | 1 | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 17 | 16 | #REF! | #REF! | 7 | 8
| 132 kV Pokhara | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 0 | 0 | 1 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 14 | 15 | #REF! | #REF! | 17 | 22
| 132/33 kV, 30MVA Transformer | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 3 | 1 | 1 | 2 | 2 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 17 | 17 | #REF! | #REF! | 27 | 40
| 132/11 kV 22.5 MVA Tansformer I | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | 11 | #REF! | #REF! | 17 | 31
| 132/11 kV 22.5 MVA Tansformer II | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | #REF! | #REF! | 255 | 1554
| 33 kV Incomer | 5 | 5 | 4 | 48 | 4 | 48 | 4 | 48 | 3 | 3 | 2 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 162 | #REF! | #REF! | 472 | 2914
| 11 kV Incomer I | 4 | 25 | 2 | 10 | 4 | 15 | 4 | 15 | 4 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 25 | 8 | 50 | 31 | 155 | #REF! | #REF! | 72 | 419
| 11 kV Incomer II | 0 | 0 | [22 empty] | 0 | 0 | #REF! | #REF! | 107 | 815
| 11 kV Begnas | 59 | 460 | 29 | 182 | 22 | 543 | 22 | 543 | 11 | 60 | 12 | 43 | 16 | 16 | 24 | 79 | 34 | 97 | 23 | 126 | 54 | 300 | 50 | 220 | 356 | 2669
| 11 kV Khaireni | 6 | 45 | 11 | 76 | 10 | 64 | 10 | 64 | 1 | 3 | 14 | 32 | 2 | 2 | 1 | 9 | 9 | 71 | 17 | 163 | 8 | 39 | 40 | 64 | 129 | 632
| 11 kV Budhi Bazar | 22 | 216 | 16 | 72 | 19 | 218 | 19 | 218 | 6 | 16 | 5 | 22 | 11 | 11 | 5 | 21 | 14 | 150 | 16 | 56 | 42 | 317 | 29 | 158 | 204 | 1475
| 11 kV Kalika | 72 | 685 | 60 | 350 | 18 | 262 | 18 | 262 | 46 | 301 | 20 | 85 | 15 | 15 | 33 | 179 | 58 | 260 | 41 | 232 | 84 | 607 | 92 | 540 | 557 | 3778
| 11 kV Ncell | 1 | 7 | 1 | 5 | 1 | 15 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 42
| 11/0.4 KV 250 KVA Station Tr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [8 empty] | 0 | 0 | #REF! | #REF!
Pokhara | 132 kV Modi Hydro | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 2 | 0 | 0 | 2 | 2 | 1 | 1 | 0 | 1 | 1 | 1 | 2 | 2 | 12 | 12 | #REF! | #REF! | 15 | 24
| 132 kV Lekhanath | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 1 | 1 | 1 | 10 | 8 | #REF! | #REF! | 16 | 21
| 132 kV 30 MVA Trans.I | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 2 | 1 | 2 | 1 | 1 | 2 | 2 | 1 | 2 | 1 | 1 | 0 | 0 | 12 | 14 | #REF! | #REF! | 19 | 24
| 11 kV 30MVA . Incomer.i | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 1 | 2 | 1 | 2 | 0 | 0 | 1 | 1 | 5 | 9 | #REF! | #REF! | 41 | 68
| 132 kV 30 MVA Trans.II | 2 | 1 | 0 | 0 | 1 | 2 | 1 | 1 | 2 | 2 | 0 | 0 | 3 | 3 | 2 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 8 | 16 | 24 | #REF! | #REF!
| 11 kV 30 MVA . Incom.ii | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 2 | 0 | 0 | 1 | 2 | 4 | 6 | #REF! | #REF!
| 11 kV Seti Incomer | 0 | 0 | 2 | 8 |  |  | 2 | 8 | 0 | 0 | 13 | 13 | 2 | 8 | 2 | 15 | 4 | 15 | 19 | 15 | 2 | 11 | 5 | 32 | 51 | 125 | #REF! | #REF! | 25 | 144
| 11 kV Fewa Incomer | 12 | 89 | 14 | 89 | 10 | 103 | 5 | 32 | 1 | 7 | 7 | 7 | 0 | 0 | 2 | 12 | 11 | 101 | 171 | 101 | 8 | 80 | 13 | 130 | 254 | 751 | #REF! | #REF! | 106 | 671
| 11 kV Fewa Feeder | 49 | 245 | 20 | 105 | 28 | 152 | 12 | 63 | 9 | 63 | 99 | 99 | 30 | 212 | 17 | 120 | 29 | 182 | 345 | 182 | 46 | 356 | 40 | 310 | 724 | 2089 | #REF! | #REF! | 319 | 1919
| 11 kV Sarankot | 20 | 101 | 16 | 80 | 9 | 55 | 2 | 11 | 4 | 23 | 11 | 11 | 2 | 11 | 4 | 35 | 11 | 80 | 134 | 80 | 30 | 210 | 25 | 180 | 268 | 877 | #REF! | #REF! | 369 | 2453
| 11 kV Arwa | 11 | 56 | 15 | 75 | 16 | 130 | 8 | 42 | 2 | 10 | 39 | 39 | 1 | 5 | 2 | 21 | 8 | 59 | 173 | 59 | 17 | 133 | 16 | 108 | 308 | 737 | #REF! | #REF! | 117 | 658
| 11 kV New Road Feeder | 1 | 5 | 9 | 45 | 2 | 8 | 0 | 0 | 0 | 0 | 18 | 18 | 1 | 5 | 1 | 6 | 1 | 6 | 22 | 6 | 0 | 0 | 8 | 88 | 63 | 187 | #REF! | #REF! | 86 | 499
| 11 KV Rambazar | 15 | 75 | 12 | 60 | 9 | 73 | 2 | 16 | 3 | 17 | 53 | 53 | 7 | 54 | 4 | 31 | 3 | 27 | 24 | 27 | 4 | 59 | 3 | 43 | 139 | 535 | #REF! | #REF! | 103 | 646
| 11 kV Seti Incomer II (Task) |  |  | 1 | 5 | 2 | 10 | 1 | 16 | 1 | 3 | 5 | 5 | 0 | 0 | 3 | 30 | 2 | 9 | 13 | 9 | 3 | 35 | 3 | 28 | 34 | 150 | #REF! | #REF! | 200 | 508
| 11 kV Baidam | 5 | 25 | 5 | 25 | 5 | 28 | 2 | 8 | 0 | 0 | 14 | 14 | 0 | 0 | 6 | 35 | 8 | 47 | 65 | 47 | 13 | 86 | 8 | 47 | 131 | 362 | #REF! | #REF! | 129 | 738
| 11 kV PID | 2 | 2 | 2 | 4 | 7 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 26 | 1 | 4 | 6 | 4 | 9 | 57 | 2 | 13 | 31 | 130 | #REF! | #REF! | 158 | 853
| 11 kV Tatopani | 32 | 160 | 32 | 160 | 45 | 235 | 4 | 21 | 7 | 39 | 49 | 49 | 4 | 25 | 4 | 9 | 5 | 34 | 97 | 34 | 17 | 124 | 30 | 201 | 326 | 1091 | #REF! | #REF! | 286 | 1846
| 11 KV Airport | 5 | 25 | 12 | 60 | 8 | 47 | 2 | 10 | 2 | 11 | 0 | 0 | 1 | 5 | 0 | 0 | 3 | 16 | 78 | 16 | 7 | 40 | 6 | 46 | 124 | 276
| 11 Kv Sahidchowk Feeder | 1 | 5 | 8 | 40 | 6 | 33 | 1 | 5 | 2 | 14 | 5 | 5 | 4 | 16 | 3 | 23 | 12 | 90 | 36 | 90 | 11 | 99 | 7 | 53 | 96 | 473
| 11 KV City | 8 | 40 | 3 | 15 | 6 | 31 | 0 | 0 | 4 | 25 | 51 | 51 | 4 | 28 | 4 | 24 | 13 | 91 | 50 | 91 | 10 | 72 | 6 | 46 | 159 | 514
| 11 kv International Airport Feeder | [16 empty] | 2 | 19 | 0 | 19 | 0 | 0 | 0 | 0 | 2 | 38 | #REF! | #REF! | 61 | 353
| 11 KV Galeshwor | [22 empty] | 2 | 11
| 11/0.4 KV , 200 KVA Station Tr. | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 3 | 16 | 0 | 0 | 4 | 18 | #REF! | #REF!
Damauli | 132kv Lekhnath | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 17 | 17 | #REF! | #REF! | 25 | 66.5
| 132kv Bharatpur | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 2 | 2 | 3 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 11
| 132kv Middle Marsyangdi | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6
| 132kv Markichowk | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4
| 132 kV 15 MVA Tr. 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 9 | #REF! | #REF! | 87 | 173
| 33 kV Incomer(15 MVA)Tr-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 20 | 26
| 132 kV 30 MVA Tr. 2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 87 | 173
| 33kV incomer(10MVA)Tr-2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | #REF! | #REF! | 280 | 2091
| 33 kV Ambukhaireni | 6 | 40 | 6 | 40 | 1 | 40 | 1 | 40 | 6 | 40 | 6 | 40 | 6 | 40 | 6 | 40 | 6 | 40 | 6 | 40 | 6 | 40 | 6 | 40 | 62 | 480 | #REF! | #REF! | 31 | 53
| 33 /11KV 16.6 MVA Trns. | [14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 90 | 505
| 11 KV Incomer 16.6 MVA Trns | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 435 | 2432
| 11 kv Soti pasal | 90 | 572 | 80 | 8200 | 72 | 386 | 32 | 172 | 52 | 306 | 52 | 86 | 52 | 86 | 52 | 86 | 69 | 648 | 71 | 729 | 71 | 729 | 71 | 729 | 764 | 12729 | #REF! | #REF! | 17 | 32
| 0.4kV 315KVA Trans. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | #REF! | #REF!
| 0.4kV 200 KVA St. Tr. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 0 | 0 | #REF! | #REF! | 24 | 21
| 11 kV TanahunSoor | 65 | 358 | 12 | 62 | 9 | 47 | 9 | 45 | 3 | 15 | 35 | 15 | 35 | 15 | 35 | 15 | 24 | 123 | 32 | 735 | 32 | 735 | 32 | 735 | 323 | 2900 | #REF! | #REF! | 103 | 202
| 11 kV Chhabdi | 62 | 363 | 45 | 252 | 32 | 185 | 26 | 150 | 12 | 63 | 12 | 101 | 12 | 101 | 12 | 101 | 32 | 206 | 104 | 855 | 104 | 855 | 104 | 855 | 557 | 4087 | #REF! | #REF! | 127 | 823
| 11 kV Damauli | 12 | 50 | 13 | 63 | 7 | 34 | 2 | 9 | 3 | 18 | 2 | 9 | 0 | 9 | 0 | 9 | 10 | 55 | 21 | 102 | 21 | 102 | 21 | 102 | 112 | 562 | #REF! | #REF! | 206 | 1393
| 11 kV Tharpu | 121 | 541 | 88 | 587 | 43 | 226 | 30 | 158 | 7 | 36 | 7 | 46 | 7 | 46 | 7 | 46 | 71 | 181 | 52 | 855 | 52 | 855 | 52 | 855 | 537 | 4432 | #REF! | #REF! | 336 | 1663
Syangja | 132 kV Kali Gandaki | 4 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 19 | 16 | #REF! | #REF!
| 132 kV Lekhnath | 3 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 18 | 17 | #REF! | #REF!
| 132 kV 24/30 MVA Trans | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 15 | 13 | #REF! | #REF!
| 132 kV 24/30 MVA 33kv Incomer |  |  | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
| 6/8 MVA Transformer (33/11KV) |  |  |  | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
| 6/8 MVA 1 1kv Incomer |  |  |  | 0 | 0 | 0 | [10 empty] | 3 | 120 | 0 |  | 0 | 0 | 0 | 0 | 3 | 120 | #REF! | #REF!
| 33 kV Galyan Feeder | 31 | 298 | 326 | 114 | 19 | 97 | 19 | 92 | 10 | 62 | 11 | 209 | 14 | 148 | 9 | 60 | 17 | 0 | 44 | 302 | 63 | 571 | 53 | 395 | 616 | 2348 | #REF! | #REF!
| 33 kV Badkhola Feeder |  |  | 0 | 0 | 3 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 9 | 3 | 58 | 8 | 84 | #REF! | #REF!
| 33/0.4 kV 200 KVA Station Trans.1 |  |  |  | 0 | 0 | 0
| 33/0.4 kV 200 KVA Station Trans.2 |  |  |  | 0 | 0 | 0
| 11 kv Syanja Feeder | 13 | 132 | 330 | 307 | 5 | 36 | 0 | 0 | 1 | 10 | 6 | 118 | 5 | 77 | 6 | 78 | 10 | 506 | 16 | 264 | 32 | 554 | 11 | 23
| 11 kv Biruwa Manakamana Feeder | 21 | 916 | 1250 | 829 | 18 | 1145 | 5 | 188 | 5 | 84 | 10 | 661 | 10 | 498 | 7 | 116 | 18 | 1450 | 26 | 1071 | 45 | 2295 | 51 | 56 | 1466 | 9309 | #REF! | #REF!
| 11 kv Arjunchaupari Feeder | 35 | 780 | 78 | 651 | 35 | 722 | 10 | 80 | 14 | 84 | 19 | 811 | 10 | 165 | 16 | 189 | 16 | 189 | 69 | 2498 | 74 | 3156 | 47 | 86 | 423 | 9411 | #REF! | #REF!
Markichowk | 132 kV Damauli | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5
| 132 kVMiddle Marysyangdi | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2
| 132kV Marsyangdi I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 132kV Marsyangdi II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 132/33kV 30 MVA Tr-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 33kV Aambukhaireni | 13 | 72 | 282 | 0 | 23 | 151 | 5 | 34 | 4 | 4 | 4 | 4 | 8 | 41 | 2 | 10 | 15 | 247 | 23 | 206 | 340 | 206 | 351 | 351 | 1070 | 1326
Kushma | 220kV Dana I |  |  | 123 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 123 | 0
| 220kV Dana II | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
| 220/132kV 100MVA Transformer | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
| 132kV United Modi |  |  | 20 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 20 | 0
Dana | 220kV Kusma I | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
| 220kV Kusma II | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
| 220/132kV 100MVA Transformer | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
| 132/33 kV 25 MVA Trans. (132kV side) | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
| 132/33 kV 25 MVA Trans.(33kV side) | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
132 kV Mristi Khola HEP (Incomer)
33kV Beni Mustang Feeder
33kV Dana Feeder
33kV Ghalemdi HL (Incomer)
Note on B47: Author:

## Max_Load1
NEPAL ELECTRICITY AUTHORITY
POKHARA GRID BRANCH
POKHARA (LEKHNATH)
132/ 11 kV Sub-Station Pokhara / Lekhnath / Damauli / Syangja /Markichowk
Feeders Maximum Load Report for 132/33/ 11 KV Voltage Level:2078/79 | [13 empty] | 2078/079
S/S | Voltage level | Shrawan | Bhadra | Ashwin | Kartik | Mangsir | Poush | Magh | Falgun | Chaitra | Baisakh | Jestha | Ashadh | Maximum
|  | Amp | Amp | Amp | Amp | Amp | Amp | Amp | Amp | Amp | Amp | Amp | Amp | Amp
Lekhnath | 132 kV Bharatpur | 260 | 290 | 296 | 254 | 272 | 262 | 262 | 262 | 284 | 230 | 280 | 262 | 296
| 132 kV Kaligandaki | 464 | 489 | 490 | 475 | 383 | 310 | 274 | 274 | 332 | 360 | 360 | 589 | 589
| 132 kV Pokhara | 302 | 296 | 286 | 263 | 241 | 190 | 190 | 190 | 178 | 190 | 190 | 289 | 302
| 132 kV 22MVA Tansformer I | 38.8 | 40 | 40.9 | 40.4 | 44 | 47.4 | 47.4 | 47.4 | 42.8 | 38.5 | 42.8 | 39.1 | 47.4
| 132 kV 22MVA Tansformer II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 kV 22.5 MVA Incomer I | 447 | 478 | 466 | 485 | 485 | 531 | 522 | 522 | 482 | 482 | 469 | 472 | 531
| 11 kV 22.5 MVA Incomer II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 kV Begnas | 149 | 160 | 156 | 168 | 168 | 203 | 203 | 203 | 162 | 162 | 416 | 162 | 416
| 11 kV Khaireni | 115 | 124 | 148 | 116 | 116 | 174 | 174 | 174 | 172 | 138 | 119 | 124 | 174
| 11 kV Budhi Bazar | 130 | 125 | 179 | 127 | 127 | 169 | 169 | 169 | 132 | 139 | 135 | 140 | 179
| 11 kV Kalika | 50 | 50 | 102 | 57 | 57 | 70 | 70 | 70 | 49 | 130 | 75 | 37 | 130
| 250 KVA Station Transformer | 1.85 | 1.85 | 1.85 | 1.91 | 1.91 | 1.91 | 1.91 | 1.91 | 1.7 | 1.72 | 1.72 | 1.98 | 1.98
Pokhara | 132 kV Modi Hydro | 356 | 348 | 337 | 362 | 315 | 216 | 216 | 160 | 233 | 225 | 344 | 400 | 400
| 132 kV Lekhanath | 324 | 331 | 284 | 338 | 238 | 156 | 156 | 137 | 185 | 232 | 297 | 312 | 338
| 132 kV 30MVA Tr. I | 103 | 96 | 80 | 99 | 115 | 137 | 115 | 110 | 117 | 125 | 117 | 120 | 137
| 11Kv,30MVA Incomer I | 941 | 1120 | 973 | 946 | 1106 | 1278 | 1124 | 1049 | 232 | 1187 | 1083 | 1141 | 1278
| 132 kV 30MVA Tr. II | 92 | 120 | 107 | 79 | 82 | 96 | 101 | 92 | 89 | 94 | 80 | 80 | 120
| 11Kv,30MVA Incomer II | 881 | 1057 | 953 | 1122 | 989 | 1147 | 1096 | 1104 | 1020 | 976 | 967 | 955 | 1147
| 11KV Seti Hydro II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 kV Seti Incomer | 83 | 78 | 78 | 71 | 80 | 82 | 85 | 83 | 91 | 81 | 11.5 | 9.6 | 91
| 11 kV Fewa Incomer | 40 | 43 | 42 | 40 | 72 | 42 | 44 | 48 | 41 | 42 | 266 | 247 | 266
| 11 kV Fewa Feeder | 229 | 271 | 226 | 234 | 252 | 274 | 287 | 256 | 275 | 280 | 60 | 72 | 287
| 11 kV Baidam Feeder | 150 | 225 | 223 | 158 | 180 | 230 | 206 | 201 | 242 | 278 | 179 | 234 | 278
| 11 kV Sarankot Feeder | 194 | 191 | 205 | 264 | 183 | 280 | 234 | 269 | 192 | 233 | 145 | 148 | 280
| 11 kV Arwa Feeder | 203 | 191 | 196 | 208 | 212 | 247 | 245 | 218 | 198 | 231 | 237 | 259 | 259
| 11 kV PID Feeder | 175 | 136 | 147 | 152 | 135 | 137 | 129 | 148 | 151 | 137 | 213 | 222 | 222
| 11 kV Airport Feeder | 197 | 269 | 178 | 156 | 172 | 219 | 221 | 209 | 234 | 226 | 214 | 231 | 269
| 11 kV New Road Feeder | 204 | 209 | 194 | 160 | 170 | 205 | 200 | 198 | 182 | 210 | 81 | 85 | 210
| 11 kV Tatopani Feeder | 223 | 282 | 255 | 251 | 274 | 288 | 274 | 147 | 154 | 180 | 46 | 46 | 288
| 11KV Rambazar Feeder | 319 | 362 | 282 | 335 | 317 | 335 | 200 | 334 | 308 | 201 | 224 | 238 | 362
| 11KV Sahid Chowk Feeder | 142 | 173 | 265 | 155 | 191 | 255 | 209 | 224 | 262 | 214 | 265 | 253 | 265
| 11 KV City Feeder | 142 | 239 | 265 | 184 | 221 | 248 | 243 | 247 | 232 | 239 | 220 | 216 | 265
| 11 kv Galeshor Feeder | [8 empty] | 65 | 75 | 226 | 241 | 241
| 11 KV International Airport Feeder | [8 empty] | 12.6 | 9.4 | 195 | 184 | 195
| 200 KVA Station Tr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 |  | 2
Damauli | 132 kV 10 MVA Tr.1 | [12 empty] | 0
| 132 KV Lekhnath | 295 | 277 | 306 | 258 | 189 | 387 | 232 | 232 | 232 | 222 | 222 | 222 | 387
| 132 KV Bharatpur | 249 | 263 | 315 | 246 | 290 | 255 | 175 | 175 | 175 | 270 | 270 | 270 | 315
| 132kv Middle Marsyangdi |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 132kv Markichowk |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 132 kV 15 MVA Tr.1 | 46 | 41 | 52 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52
| 33 kV Incomer-1 (15 MVA) | 184 | 164 | 208 | 172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 208
| 132 kV 15 MVA Tr.2 |  | 0 | 0 | 0 | 47 | 54 | 49 | 49 | 49 | 48 | 48 | 48 | 54
| 33 kV Incomer(15 MVA)Tr2 |  | 0 | 0 | 0 | 188 | 216 | 196 | 196 | 196 | 192 | 192 | 192 | 216
| 33 kV Ambukhireni Feeder | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155
| 33 KV 16.6 MVA Transformer | 100 | 111 | 110 | 108 | 109 | 117 | 110 | 110 | 110 | 110 | 110 | 110 | 117
| 11 KV 16.6 MVA Incomer | 289 | 308 | 308 | 293 | 304 | 332 | 316 | 316 | 316 | 316 | 316 | 316 | 332
| 11kv Sotipasal Feeder | 52 | 72 | 54 | 55 | 55 | 59 | 60 | 60 | 60 | 60 | 60 | 60 | 72
| 11 kV Damauli Feeder | 138 | 148 | 200 | 128 | 132 | 166 | 144 | 144 | 144 | 144 | 144 | 144 | 200
| 11 K V Tanahunsoor Feeder | 42 | 48 | 56 | 48 | 47 | 45 | 54 | 54 | 54 | 54 | 54 | 54 | 56
| 11 K V Chhabdi Feeder | 25 | 23 | 26 | 32 | 29 | 25 | 24 | 24 | 24 | 24 | 24 | 24 | 32
| 11 kV Tharpu Feeder | 57 | 69 | 59 | 59 | 71 | 81 | 67 | 67 | 67 | 67 | 67 | 67 | 81
| 0.4kV 315KVA Trans. | [12 empty] | 0
| 0.4kV 200 KVA St. Tr. | [12 empty] | 0
Syangja | 132 kV KaliGandaki | 442.9 | 491.5 | 544.3 | 454.3 | 501.2 | 328.1 | 321.5 | 342.3 | 325.4 | 357.2 | 547.2 | 581 | 581
| 132 kV Lekhnath | 409.1 | 493.6 | 540.2 | 440.7 | 481.3 | 292.7 | 389.1 | 330.2 | 318.2 | 369.9 | 472.9 | 584.3 | 584.3
| 132 kV 24/30 MVA Trans, 33kV side Incomer | 118 | 169 | 95 | 121 | 165 | 165 | 121 | 140 | 156 | 140 | 154 | 188 | 188
| 33 kV Galyan Feeder | 118 | 122 | 107 | 118 | 118 | 121 | 120 | 107 | 118 | 116 | 180 | 160 | 180
| 33 kV Badkhola Feeder | 37.4 | 39.1 | 43.9 | 44.6 | 46.5 | 46.2 | 43.7 | 44.7 | 37.5 | 37 | 34.5 | 34.7 | 46.5
| 33/0.4 kV 200 KVA Station Trans.1 | [12 empty] | 0
| 33/0.4 kV 200 KVA Station Trans.2 | [12 empty] | 0
| 11 kv, 6/8 MVA Incomer | 101.8 | 99.7 | 94.7 | 98.6 | 100.4 | 105.1 | 102.6 | 102.2 | 90.8 | 92.6 | 82.9 | 81.3 | 105.1
| Syanja 11 kv Feeder | 56.9 | 44.8 | 43 | 44.6 | 49.4 | 53.4 | 52.1 | 50.8 | 42.6 | 47.2 | 38.6 | 45.2 | 56.9
| Biruwa Manakamana 11 kv Feeder | 15.7 | 17.6 | 18.6 | 16.8 | 17.5 | 17.5 | 17.2 | 20.4 | 17.6 | 14.7 | 14.3 | 15.2 | 20.4
| Arjun Chaupari 11 kv Feeder | 32.9 | 37.3 | 38.5 | 37.7 | 38.5 | 38 | 36.3 | 37.9 | 33.8 | 36.9 | 31.1 | 29.6 | 38.5
Marki Chowk | 132kv Damauli | 230.3 | 272 | 333.2 | 273.2 | 288.4 | 295.6 | 243.3 | 244.6 | 266.4 | 452.2 | 322.2 | 321.8 | 452.2
| 132kv Middle Marysyangdi | 339 | 327.7 | 366.4 | 419.7 | 529.9 | 533.9 | 522 | 496.7 | 467 | 592.4 | 640 | 645 | 645
| 132kv Marsyangdi I | 311.4 | 185.8 | 298.3 | 221.6 | 228.9 | 317.6 | 211.3 | 260.3 | 204.5 | 368.8 | 525.4 | 519.9 | 525.4
| 132kv Marsyangdi II | 318.9 | 182.4 | 203.1 | 218.8 | 232.1 | 225.7 | 237.6 | 197.3 | 204.8 | 278.7 | 299.1 | 412.9 | 412.9
| 132kV 30 MVA Tr-1 | 68.44 | 63.42 | 67.08 | 90.41 | 54.55 | 69.25 | 54.5 | 58.05 | 61.36 | 50.9 | 65.6 | 68.4 | 90.41
| 33kV Outgoing Feeder | 249.8 | 295.1 | 265.3 | 225.36 | 215.4 | 273.6 | 216.9 | 228.3 | 238.1 | 278.7 | 251 | 398.3 | 398.3

## Shutdown
NEPAL ELECTRICITY AUTHORITY
POKHARA GRID BRANCH
POKHARA (LEKHNATH)
132/ 11 kV Sub-Station Pokhara / Lekhnath / Damauli / Syangja / Marki chowk
Feeders Shut-Down Report for 132/33/ 11 KV Voltage Level: | [25 empty] | 2078/79
S/S | Voltage level | Shrawan |  | Bhadra |  | Ashwin |  | Kartik |  | Mangsir |  | Paush |  | Magh |  | Falgun |  | Chaitra |  | Baisakh |  | Jestha |  | Ashadh |  | Total No (N) | Total Time (Min.)T
|  | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T
Lekhnath | 132 kV Damauli | 10 | 118 | 11 | 197 | 9 | 24 | 2 | 6 |  |  | 3 | 5 | 3 | 48 | 0 | 0 | 4 | 7 | 20 | 82 | 13 | 45 | 5 | 25 | 80 | 557
| 132 kV Syangja | 1 | 3 | 2 | 54 | 7 | 36 | 3 | 36 |  |  | 0 | 0 | 3 | 48 | 0 | 0 | 1 | 593 | 3 | 12 | 2 | 62 | 3 | 32 | 25 | 876
| 132 kV Pokhara | 2 | 161 | 2 | 161 | 10 | 50 | 4 | 49 |  |  | 0 | 0 | 3 | 48 | 0 | 0 | 0 | 0 | 10 | 108 | 10 | 32 | 2 | 118 | 43 | 727
| 132/33 kV, 30MVA Transformer | 1 | 13 | 1 | 13 | 17 | 222 | 5 | 58 |  |  | 2 | 24 | 3 | 48 | 1 | 4 | 4 | 34 | 1 | 26 | 9 | 27 | 26 | 114 | 70 | 583
| 132/11 kV 22.5 MVA Tansformer I | 2 | 11 | 2 | 11 | 7 | 23 | 4 | 36 |  |  |  |  | 3 | 48 | 2 | 20 | 4 | 7 | 4 | 32 | 6 | 27 | 2 | 30 | 36 | 245
| 132/11 kV 22.5 MVA Tansformer II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 3 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3 | 50
| 33 kV Incomer | 1 | 180 | 1 | 180 | 0 | 0 | 0 | 0 |  |  |  |  | 3 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 408
| 11 kV Incomer I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 3 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 48
| 11 kV Incomer II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 kV Begnas | 22 | 114 | 33 | 300 | 15 | 684 | 15 | 684 |  |  | 59 | 918 | 3 | 48 | 42 | 392 | 59 | 597 | 92 | 456 | 162 | 1519 | 75 | 1134 | 577 | 6846
| 11 kV Khaireni | 2 | 7 | 21 | 1027 | 10 | 64 | 10 | 64 |  |  | 42 | 488 | 3 | 48 | 19 | 209 | 33 | 242 | 26 | 217 | 23 | 531 | 36 | 686 | 225 | 3583
| 11 kV Budhi Bazar | 12 | 87 | 21 | 291 | 7 | 234 | 7 | 234 |  |  | 23 | 228 | 3 | 48 | 7 | 99 | 24 | 394 | 28 | 443 | 61 | 1139 | 25 | 271 | 218 | 3468
| 11 kV Kalika | 83 | 395 | 83 | 254 | 24 | 1226 | 24 | 1226 |  |  | 27 | 272 | 3 | 48 | 48 | 501 | 46 | 1342 | 70 | 885 | 93 | 1239 | 78 | 1346 | 579 | 8734
| 11 kV Ncell | 1 | 773 | 0 | 0 | 0 | 0 | 0 | 0 | [16 empty] | 1 | 773
| 11/0.4 KV 250 KVA Station Tr. | [24 empty] | 0 | 0
Pokhara | 132 kV Modi Hydro | [24 empty] | 0 | 0
| 132 kV Lekhanath | [24 empty] | 0 | 0
| 132 kV 30MVA Tr. | [24 empty] | 0 | 0
| 132 kV Modi Hydro | 28 | 354 | 35 | 267 | 32 | 256 | 3 | 1017 |  |  | 8 | 48 | 3 | 48 | 0 | 0 | 1 | 70 | 1 | 130 | 3 | 430 | 5 | 188 | 119 | 2808
| 132 kV Lekhanath | 19 | 163 | 36 | 487 | 31 | 253 | 3 | 77 |  |  | 0 | 0 | 3 | 48 | 7 | 37 | 8 | 30 | 26 | 486 | 52 | 580 | 54 | 578 | #REF! | 2739
| 132 kV 30 MVA Trans.I | 19 | 169 | 36 | 487 | 31 | 253 | 0 | 0 |  |  | 1 | 3 | 3 | 48 | 1 | 6 | 1 | 21 | 3 | 157 | 1 | 1 | 0 | 0 | 105 | 1145
| 11 kV 30MVA . Incomer.i | 19 | 163 | 36 | 487 | 31 | 253 | 0 | 0 |  |  | 0 | 0 | 3 | 48 | 0 | 0 | 0 | 0 | 4 | 218 | 0 | 0 | 1 | 6 | 94 | 1175
| 132 kV 30 MVA Trans.II | 19 | 167 | 36 | 487 | 31 | 253 | 1 | 5 |  |  | 0 | 0 | 3 | 48 | 0 | 0 | 1 | 33 | 1 | 19 | 3 | 166 | 0 | 0 | 95 | 1178
| 11 kV 30 MVA . Incom.ii | 19 | 163 | 36 | 487 | 31 | 253 | 0 | 0 |  |  | 3 | 81 | 3 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 1032
| 11 kV Seti Incomer | 2 | 115 | 1 | 40 | 2 | 65 | 1 | 113 |  |  | 6 | 174 | 3 | 48 | 3 | 573 | 3 | 115 | 2 | 540 | 3 | 105 | 3 | 1274 | 46 | 3162
| 11 kV Fewa Incomer | 18 | 483 | 3 | 51 | 17 | 341 | 3 | 46 |  |  | 62 | 738 | 3 | 48 | 9 | 651 | 9 | 171 | 7 | 392 | 5 | 61 | 18 | 644 | 155 | 3626
| 11 kV Fewa Feeder | 76 | 773 | 63 | 844 | 46 | 608 | 22 | 196 |  |  | 34 | 359 | 3 | 48 | 30 | 550 | 70 | 1601 | 72 | 922 | 90 | 1324 | 93 | 1386 | 525 | 8611
| 11 kV Sarankot | 79 | 498 | 32 | 277 | 35 | 461 | 33 | 245 |  |  | 61 | 853 | 3 | 48 | 44 | 992 | 31 | 1031 | 68 | 1017 | 85 | 1178 | 111 | 1481 | 521 | 8081
| 11 kV Arwa | 16 | 214 | 48 | 674 | 47 | 529 | 24 | 262 |  |  | 13 | 130 | 3 | 48 | 48 | 611 | 34 | 434 | 49 | 1035 | 54 | 936 | 85 | 1167 | 481 | 6040
| 11 kV New Road Feeder | 15 | 244 | 39 | 801 | 18 | 281 | 9 | 114 |  |  | 55 | 642 | 3 | 48 | 14 | 700 | 10 | 192 | 23 | 434 | 38 | 616 | 53 | 732 | 341 | 4804
| 11 KV Rambazar | 86 | 867 | 57 | 734 | 42 | 521 | 51 | 649 |  |  | 1 | 2 | 3 | 48 | 48 | 465 | 47 | 507 | 22 | 358 | 20 | 542 | 34 | 533 | 341 | 5226
| 11 kV Seti Incomer II (Task) | 1 | 132 | 1 | 40 | 2 |  | 2 | 154 |  |  | 41 | 581 | 3 | 48 | 3 | 210 | 1 | 30 | 1 | 183 | 6 | 2136 | 0 | 0 | 75 | 3514
| 11 kV Baidam | 24 | 517 | 30 | 392 | 32 | 874 | 20 | 231 |  |  | 0 | 0 | 3 | 48 | 25 | 403 | 34 | 514 | 42 | 544 | 44 | 632 | 35 | 520 | 351 | 4675
| 11 kV PID | 1 | 58 | 1 | 30 | 1 | 600 | 2 | 45 |  |  | 58 | 883 | 3 | 48 | 4 | 938 | 2 | 184 | 3 | 731 | 2 | 52 | 2 | 240 | 79 | 3809
| 11 kV Tatopani | 63 | 544 | 77 | 883 | 73 | 785 | 39 | 638 |  |  | 17 | 200 | 3 | 48 | 25 | 661 | 22 | 309 | 36 | 483 | 55 | 635 | 65 | 1247 | 436 | 6433
| 11 KV Airport | 32 | 418 | 40 | 359 | 17 | 661 | 20 | 138 |  |  | 26 | 247 | 3 | 48 | 32 | 429 | 33 | 833 | 26 | 949 | 27 | 617 | 38 | 716 | 263 | 5415
| 11 Kv Sahidchowk Feeder | 25 | 235 | 45 | 1039 | 34 | 518 | 11 | 125 |  |  | 38 | 454 | 3 | 48 | 16 | 558 | 23 | 1029 | 33 | 198 | 24 | 435 | 53 | 1144 | 343 | 5783
| 11 KV City | 39 | 664 | 23 | 394 | 29 | 529 | 8 | 63 |  |  | 0 | 0 | 3 | 48 | 18 | 555 | 12 | 355 | 27 | 531 | 19 | 292 | 41 | 619
| 11 kv International Airport Feeder | [6 empty] | 0 | 0 |  |  | 0 |  | 3 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 19 | 0 | 0
| 11 KV Galeshwor | [22 empty] | 54 | 694
| 11/0.4 KV , 200 KVA Station Tr. | [14 empty] | 0 | 0 | 0 | 0 | 1 | 14 | 51 | 759 | 0 | 0
Damauli | 132 kV 10 MVA Tr.1 | [24 empty] | 0 | 0
| 132kv Lekhnath | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 3 | 55 | 2 | 26 | 2 | 26 | 19 | 1997 | 19 | 1997 | 19 | 1997 | 66 | 6100
| 132kv Bharatpur |  |  | 2 | 6 | 2 | 345 | 2 | 345 | 0 | 0 |  |  | 3 | 55 | 2 | 78 | 2 | 78 | 3 | 80 | 3 | 80 | 3 | 80 | 22 | 1147
| 132kv Bharatpur | 1 | 821 |  |  |  |  | 2 | 345 | 0 | 0 |  |  | 3 | 55 | 2 | 78 | 2 | 78 | 3 | 80 | 3 | 80
| 132kv Middle Marsyangdi | 0 | 0 | 2 | 36 | 0 | 0 | 0 | 0 | 1 | 9 |  |  | 3 | 55 | 2 | 26 | 2 | 26 | 2 | 26 | 2 | 26 | 2 | 26 | 16 | 230
| 132kv Markichowk | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 840 |  |  | 3 | 55 | 2 | 26 | 2 | 26 | 2 | 26 | 2 | 26 | 2 | 26 | 14 | 1025
| 132 kV 15 MVA Tr. 1 | 0 | 0 | 1 | 3 | 1 | 5 | 1 | 5 | 0 |  |  |  | 3 | 55 | 3 | 32 | 3 | 32 | 2 | 6 | 2 | 6 | 2 | 6 | 18 | 150
| 33 kV Incomer(15 MVA)Tr-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 3 | 55 | 3 | 32 | 3 | 32 | 3 | 32 | 3 | 32 | 3 | 32 | 18 | 215
| 132 kV 30 MVA Tr. 2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 3 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 55
| 33kV incomer(10MVA)Tr-2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 3 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 55
| 33 kV Ambukhaireni | 2 | 485 | 2 | 485 | 0 | 0 | 0 | 0 | 6 | 40 |  |  | 3 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 1065
| 33 /11KV 16.6 MVA Trns. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3 | 55 | 2 | 76 | 2 | 76 | 2 | 76 | 2 | 76 | 2 | 76 | 13 | 435
| 11 KV Incomer 16.6 MVA Trns |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3 | 55 | 2 | 76 | 2 | 76 | 2 | 76 | 2 | 76 | 2 | 76 | 13 | 435
| 11 kv Soti pasal | 20 | 443 | 10 | 440 | 19 | 604 | 4 | 271 | 52 | 306 | 2 | 84 | 3 | 55 | 4 | 116 | 21 | 146 | 8 | 690 | 8 | 690 | 8 | 690 | 159 | 4535
| 0.4kV 315KVA Trans. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3 | 55 | [10 empty] | 3 | 55
| 0.4kV 200 KVA St. Tr. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3 | 55 | [10 empty] | 3 | 55
| 11 kV TanahunSoor | 19 | 853 | 6 | 284 | 0 | 0 | 11 | 150 | 3 | 15 | 6 | 237 | 3 | 55 | 8 | 217 | 9 | 553 | 20 | 11 | 20 | 11 | 20 | 11 | 125 | 2397
| 11 kV Chhabdi | 14 | 1539 | 9 | 861 | 5 | 45 | 3 | 183 | 12 | 63 | 4 | 212 | 3 | 55 | 2 | 22 | 6 | 317 | 16 | 646 | 16 | 646 | 16 | 646 | 106 | 5235
| 11 kV Damauli | 24 | 117 | 8 | 62 | 5 | 83 | 3 | 30 | 3 | 18 | 4 | 51 | 3 | 55 | 7 | 209 | 7 | 135 | 8 | 149 | 8 | 149 | 8 | 149 | 88 | 1207
| 11 kV Tharpu | 39 | 756 | 19 | 565 | 12 | 838 | 5 | 104 | 7 | 36 | 5 | 97 | 3 | 55 | 7 | 372 | 20 | 1073 | 16 | 485 | 16 | 485 | 16 | 485 | 165 | 5351
Syangja | 132 kV Kali Gandaki | 18 | 317 | 18 | 208 | 53 | 823 | 7 | 98 |  |  | 8 | 48 | 5 | 71 | 8 | 272 | 1 | 49 | 30 | 232 | 47 | 413 | 47 | 393 | 242 | 2924
| 132 kV Lekhnath | 19 | 969 | 2 | 994 | 25 | 245 | 7 | 98 |  |  | 8 | 48 | 5 | 71 | 7 | 50 | 1 | 589 | 1 | 771 | 47 | 413 | 51 | 1388 | 173 | 5636
| 132 kV 24/30 MVA Trans | 18 | 317 | 20 | 416 | 25 | 245 | 7 | 98 |  |  | 8 | 48 | 5 | 71 | 7 | 50 | 7 | 70 | 7 | 252 | 47 | 413 | 48 | 396 | 199 | 2376
| 132 kV 24/30 MVA 33kv Incomer |  |  | 0 | 0 | [8 empty] | 5 | 71 | 6 | 49 | 6 | 49 | 6 | 49 | 0 | 0 | 0 | 0 | 23 | 218
| 6/8 MVA Transformer (33/11KV) |  |  | 0 | 0 | [8 empty] | 5 | 71 | 6 | 49 | 6 | 49 | 6 | 49 | 0 | 0 | 0 | 0 | 23 | 218
| 6/8 MVA 1 1kv Incomer |  |  | 0 | 0 | [8 empty] | 5 | 71 | 6 | 49 | 6 | 49 | 6 | 49 | 0 | 0 | 0 | 0 | 23 | 218
| 33 kV Galyan Feeder | 37 | 668 | 14 | 126 |  |  | 20 | 98 |  |  |  |  | 5 | 71 | 11 | 134 | 18 | 167 | 44 | 434 | 70 | 1208 | 57 | 475 | 276 | 3381
| 33 kV Badkhola Feeder | 1 | 37 | 0 | 0 |  |  | 0 | 0 |  |  |  |  | 5 | 71 | 0 | 0 | 1 | 5 | 0 | 0 | 6 | 92 | 6 | 292 | 19 | 497
| 33/0.4 kV 200 KVA Station Trans.1 |  |  | 0 | 0 | [8 empty] | 5 | 71
| 33/0.4 kV 200 KVA Station Trans.2 |  |  | 0 | 0 | [8 empty] | 5 | 71
| 11 kv Syangja Feeder | 18 | 503 | 18 | 371 |  |  | 0 | 0 |  |  |  |  | 5 | 71 | 8 | 103 | 10 | 410 | 16 | 184 | 47 | 756 | 23 | 272 | 145 | 2670
| 11 kv Biruwa Manakamana Feeder | 21 | 916 | 22 | 1667 |  |  | 7 | 241 |  |  |  |  | 5 | 71 | 9 | 144 | 23 | 596 | 26 | 1091 | 53 | 2395 | 56 | 3705 | 222 | 10826
| 11 kv Arjunchaupari Feeder | 60 | 1631 | 33 | 790 |  |  | 16 | 217 |  |  |  |  | 5 | 71 | 34 | 532 | 27 | 1646 | 69 | 2700 | 100 | 3719 | 86 | 3232 | 430 | 14538
Marki Chowk | 132 kV Damauli | 3 | 30 | 3 | 30 | 4 | 31 | 5 | 76 |  |  | 3 | 28 | 3 | 55 | 1 | 5 | 3 | 30 | 9 | 78 | 15 | 173 | 17 | 120 | 66 | 656
| 132 kVMiddle Marysyangdi | 3 | 16 | 3 | 16 | 4 | 31 | 5 | 76 |  |  | 3 | 28 | 3 | 55 | 1 | 5 | 3 | 30 | 9 | 78 | 3 | 525 | 17 | 120 | 54 | 980
| 132kV Marsyangdi I | 4 | 23 | 4 | 23 | 4 | 31 | 5 | 76 |  |  | 3 | 28 | 3 | 55 | 1 | 5 | 3 | 30 | 9 | 78 | 1 | 335 | 1 | 60 | 38 | 744
| 132kV Marsyangdi II | 3 | 16 | 3 | 16 | 4 | 31 | 5 | 76 |  |  | 3 | 28 | 3 | 55 | 1 | 5 | 3 | 30 | 9 | 78 | 1 | 335 | 17 | 120 | 52 | 790
| 132/33kV 30 MVA Tr-1 | 3 | 16 | 3 | 16 | 4 | 31 | 5 | 76 |  |  | 3 | 28 | 3 | 55 | 1 | 5 | 3 | 30 | 9 | 78 | 9 | 78 | 1 | 15 | 44 | 428
| 33kV Aambukhaireni | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1 | 5 | 3 | 55 | 0 | 0 | 3 | 30 | 4 | 121 | 2 | 95 | 2 | 59 | 15 | 365
Kushma | 220kV Dana I | [24 empty] | 0 | 0
| 220kV Dana II | [24 empty] | 0 | 0
| 220/132kV 100MVA Transformer | [24 empty] | 0 | 0
| 132kV United Modi | [24 empty] | 0 | 0
Dana | 220kV Kusma I | [24 empty] | 0 | 0
| 220kV Kusma II | [24 empty] | 0 | 0
| 220/132kV 100MVA Transformer | [24 empty] | 0 | 0
| 132/33 kV 25 MVA Trans. (132kV side) | [24 empty] | 0 | 0
| 132/33 kV 25 MVA Trans.(33kV side) | [24 empty] | 0 | 0
| 132 kV Mristi Khola HEP (Incomer) | [24 empty] | 0 | 0
| 33kV Beni Mustang Feeder | [24 empty] | 0 | 0
| 33kV Dana Feeder | [24 empty] | 0 | 0
| 33kV Ghalemdi HL (Incomer) | [24 empty] | 0 | 0
Newmodi | 132 kv pokhara | [24 empty] | 0 | 0
| 132 kV Modi Hydro | [24 empty] | 0 | 0
| 132 kv lahachowk 1 | [24 empty] | 0 | 0
| 132 kv lahachowk 2 | [24 empty] | 0 | 0
Lahchowk | 132 kv modi-I | [24 empty] | 0 | 0
| 132 kv modi-II | [24 empty] | 0 | 0
| 132 kv lekhnath-I | [24 empty] | 0 | 0
| 132 kv Lekhnath-II | [24 empty] | 0 | 0
| 24/30 MVA tr | [24 empty] | 0 | 0
| bus coupler | [24 empty] | 0 | 0
| 33 kV Incomer | [24 empty] | 0 | 0
| 11 kV Incomer I | [24 empty] | 0 | 0
| Lahachowk | [24 empty] | 0 | 0
| Rivan | [24 empty] | 0 | 0
| Shardikhola | [24 empty] | 0 | 0
| Akala | [24 empty] | 0 | 0

## Load shed
NEPAL ELECTRICITY AUTHORITY
POKHARA GRID BRANCH
POKHARA (LEKHNATH)
132/ 11 kV Sub-Station Pokhara / Lekhnath / Damauli / Syangja
Feeders Load Sheadding Report for 132/33/ 11 KV Voltage Level: | [9 empty] | F.Y. 2072/073 | [15 empty] | 2074/75
S/S | Voltage level | Shrawan |  | Bhadra |  | Aswin |  | Kartik |  | Mansir |  | Paush |  | Magh |  | Falgun |  | Chitra |  | Baisakh |  | Jesta |  | Ashadh |  | Total No (N) | Total Time (Min.)T
|  | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T | N | T
Lekhnath | 132 kV Bharatpur
132 kV Kaligandaki
132 kV Pokhara
132 kV 10MVA Tansformer
11 kV Incomer
11 kV Begnas
11 kV Khaireni
11 kV Budhi Bazar
11 kV Kalika
11 kV Ncell
250 KVA Station Tr.
Pokhara | 132 kV Modi Hydro
132 kV Lekhanath
132 kV 30MVA Tr.
11Kv,30MVA Incomer
132 kV 30MVA Tr. 2
11Kv,30MVA Incomer 2
11KV Seti II (Task Hyd) Inc.
132 kV Modi Hydro
132 kv Lekhnath
11 kV Seti Incomer
11 kV Fewa Incomer
| 11 kV Fewa Feeder | 1 | 30
| 11 kV Baidam Feeder | 1 | 30
| 11 kV Sarankot Feeder | 1 | 60
| 11 kV Arwa Feeder | 1 | 30
| 11 kV PID Feeder | 22 | 2667 |  |  | 25 | 2944 |  |  | 53 | 4417 | 30 | 5242 | 29 | 5287 | 29 | 1109 | 23 | 4211
| 11 kV Airport Feeder | 1 | 30
| 11 kV City Feeder | 1 | 5
| 11 kV Tatopani Feeder | 1 | 35
| 11KV Rambazar Feeder | 1 | 30
200 KVA Station Tr.
Damauli | 132 kV 10 MVA Tr.1
33 kV Incomer(10 MVA
132 kV 10 MVA Tr.2
33 kV I/C(10 MVA)Tr2
33 kV Ambukhireni Feeder
33 KV 3 MVA Tr.1
11 KV 3 MVA Incomer.1
11kv Sotipasal Feeder
11 kV Damauli Feeder
33 KV 3 MVA Tr.2
11 KV 3 MVA Incomer.2
11 K V Tanahun Soor Feeder
11 kV Tharpu Feeder
0.4kV 315KVA Trans.
0.4kV 200 KVA St. Tr.
Syangja | 132 kV Kali Gandaki
132 kV Lekhnath
132 kV 24/30 MVA Trans
132 kV 24/30 MVA 33 kV incomer
33 kV Galyan Feeder
33 kV Badkhola Feeder
33/0.4 kV 200 KVA Station Trans.1
33/0.4 kV 200 KVA Station Trans.2

## energy
NEPAL ELECTRICITY AUTHORITY
POKHARA GRID BRANCH
POKHARA (LEKHNATH)
132/ 11 kV Sub-Station Pokhara / Lekhnath / Damauli / Syangja / Markichowk / Kushma / Dana
2078/79
| Shrawan | Bhadra | Ashoj | Kartik | Mangsir | Poush | Magh | Falgun | Chaitra | Baisakh | Jestha | Asar | Total
Total Energy Received | 135325.7 | 128279.5303 | 152499.6934 | 136414.9985 | 136180.5442 | 118670.195 | 93674.8393 | 89205.3727 | 106932.7577 | 132514.5065 | 175261.1851 | 208577.2 | 1613395.579
Total Energy Sentout | 130452.6 | 119712.4357 | 143903.6 | 129364.1154 | 130028.1151 | 114182.8214 | 91494.5391 | 86898.1538 | 103878.876 | 132036.58 | 170447.14 | 204971.1 | 1562746.786
Transmission Loss | 4873.1 | 8567.0946 | 8596.0934 | 7050.8832 | 6152.4291 | 4487.3736 | 2180.3003 | 2307.219 | 3053.8817 | 477.9265 | 4814.0451 | 3606.1 | 50648.793
Transmission Loss % | 3.6% | 6.678% | 5.637% | 5.137% | 4.518% | 3.743% | 2.328% | 2.586% | 2.856% | 0.3607% | 2.747% | 1.73% | 3.14%